Site-Prep Checklist for a 3D Laser Scan

A little prep makes capture faster, safer, and more complete. Check each item before the scan crew arrives.

Before the scan

☐  Clear access to every area to be scanned (unlock doors, move what you can)

☐  Provide keys, badges, or an escort for secured / restricted rooms

☐  Confirm occupancy and available work hours (after-hours / weekends if needed)

☐  Identify any areas NOT to be scanned (privacy, security, tenant spaces)

☐  Flag hazards, confined spaces, and required PPE

☐  Note ceiling/roof, mechanical room, and above-ceiling access needs

☐  Point out mirrors, glass, and highly reflective surfaces

☐  Gather existing drawings or prior scans, if available

☐  Confirm parking / loading access for equipment

☐  Designate an on-site point of contact

Day of capture

☐  Walk the crew through the site and confirm scope

☐  Keep foot traffic to a minimum in active scan areas

☐  Leave temporary targets / control markers undisturbed

☐  Confirm any last-minute exclusions in writing

After capture

☐  Confirm the deliverable list, formats, and required LOA

☐  Set the review window and point of contact for questions

☐  Schedule any follow-up capture for areas that were inaccessible

Questions before your scan? CAD Construct LLC — cadconstructllc.com